[Utah Admin. Code R392-510-7 - HVAC System Documentation | State Regulations | US Law | LII / Legal Information Institute (cornell.edu)](https://www.law.cornell.edu/regulations/utah/Utah-Admin-Code-R392-510-7)

Refrigerant Recordkeeping Requirements: [40 CFR § 82.157 - Appliance maintenance and leak repair. | CFR | US Law | LII / Legal Information Institute (cornell.edu)](https://www.law.cornell.edu/cfr/text/40/82.157#l)

Fine amount: [Section 608 of the Clean Air Act (epa.gov)](https://19january2017snapshot.epa.gov/sites/production/files/2015-08/documents/section_608_of_the_clean_air_act.pdf)

**Refrigerant Report**

Main information 82.157(l)(1):

* Identification of owner/operator
* Address of the unit
* Current full charge (pounds)
* Method of calculating full charge

Full charge revision history 82.157(l)(1):

* Date of revision
* Old and new amount
* Method of calculating full charge

Servicing history 82.157(l)(2):

* Date of service
* Parts being serviced
* Name of technician
* Refrigerant added or removed
* Amount of refrigerant
* Type of refrigerant
* Leak rate (we can calc)
* Method used to determine leak rate

Leak inspection history 82.157(l)(3):

* Date of inspection
* Method used to conduct inspection
* Location of leaks
* Certification that all parts were inspected (ignore this)

Verification test history 82.157(l)(5):

* Date of test
* Locations of repaired leaks tested
* Types of verification tests done
* Results of those tests